## 1st set July 2019Elan all elems
Analyte | Li | Be | B | Na | Mg | Al | P | K | Ca | Ti | V | Cr | Fe | Mn | Co | Ni | Cu | Zn | Ga | Ge | As | Se | Rb | Sr | Y | Zr | Nb | Mo | Ru | Rh | Pd | Ag | Cd | Sn | Sb | Te | Cs | Ba | La | Ce | Pr | Nd | Sm | Eu | Gd | Tb | Dy | Ho | Er | Tm | Yb | Lu | Hf | Ta | W | Re185 | Re187 | Os | Ir | Pt | Au | Tl | Pb | Th | U
Detection Limits (DL) | 0.05 | 0.1 | 2 | 0.5 | 2 | 0.2 | 5 | 6 | 31 | 0.09 | 0.05 | 0.05 | 3.7 | 0.03 | 0.03 | 0.06 | 0.03 | 0.08 | 0.01 | 0.02 | 0.06 | 0.2 | 0.04 | 0.03 | 0.02 | 0.09 | 0.04 | 0.02 | 0.01 | 0.06 | 0.01 | 0.01 | 0.06 | 0.06 | 0.01 | 0.02 | 0.02 | 0.03 | 0.03 | 0.03 | 0.04 | 0.03 | 0.04 | 0.03 | 0.03 | 0.03 | 0.04 | 0.02 | 0.04 | 0.006 | 0.05 | 0.04 | 0.05 | 0.02 | 0.08 | 0.003 | 0.003 | 0.08 | 0.04 | 0.01 | 0.03 | 0.05 | 0.03 | 0.01 | 0.03
Units | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm
OUZ-1 | 10.9404 | <DL | 8173.5903 | 11900.9957 | 22.0158 | 5339.1037 | 1484.9358 | <DL | 537.0257 | 727.5467 | 4.6046 | 26.2233 | 637448.5409 | 1395.2652 | 6349.3789 | 243075.5084 | 613.4084 | 4.5553 | 31.0853 | 170.0258 | 4.741 | 6.6666 | <DL | 3.3475 | 0.58526 | 54.4192 | 8.3444 | 30.3196 | 4.9469 | 0.91294 | 7.1472 | 0.23849 | <DL | 4.9231 | 11.8843 | <DL | <DL | 3.8182 | 0.46603 | 7.0322 | 0.10066 | 0.36662 | <DL | <DL | 0.11847 | <DL | <DL | <DL | <DL | <DL | <DL | <DL | 0.98721 | 1.0001 | 6.9639 | <DL | <DL | <DL | 0.57268 | 3.9866 | 1.6365 | <DL | <DL | 0.60344 | <DL
OUZ-2 | 2.813 | <DL | 2240.4951 | 2842.0461 | 5.9212 | 1636.0661 | 830.5713 | <DL | 165.1579 | 259.2339 | 2.1973 | 28.2149 | 778995.2554 | 453.3122 | 7300.1277 | 243645.4784 | 591.7981 | 3.4457 | 39.0824 | 171.1235 | 6.8431 | 6.3274 | <DL | 1.029 | 0.20077 | 21.009 | 2.8595 | 23.4683 | 4.7114 | 0.84417 | 6.1012 | <DL | <DL | 3.7472 | 7.7632 | <DL | <DL | 1.1542 | 0.13918 | 0.28848 | <DL | 0.10872 | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | 0.3907 | 0.25591 | 2.6166 | <DL | <DL | <DL | 0.52162 | 3.7187 | 1.5739 | <DL | <DL | 0.18579 | <DL
OUZ-3 | 0.40672 | <DL | 434.9812 | 646.7152 | <DL | 320.7482 | 644.6308 | <DL | <DL | 70.5127 | 2.4459 | 19.9411 | 868261.306 | 183.6396 | 7222.0094 | 242825.9503 | 569.9032 | 2.9882 | 41.1016 | 169.2389 | 7.0874 | 7.0627 | <DL | 0.17123 | <DL | 3.13 | 0.95269 | 23.8499 | 4.791 | 0.83574 | 4.6907 | <DL | <DL | 5.3197 | 11.1677 | <DL | <DL | 0.23153 | <DL | 34.7757 | <DL | <DL | <DL | <DL | 0.28014 | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | 0.11132 | 2.4216 | <DL | <DL | <DL | 0.49904 | 3.4549 | 1.4986 | <DL | <DL | <DL | <DL
OUZ-4 | 0.31082 | <DL | 605.6497 | 839.1393 | <DL | 500.0167 | 759.2585 | <DL | <DL | 90.0334 | 1.7764 | 21.9704 | 892915.5733 | 131.9795 | 7331.5124 | 230023.8552 | 505.3898 | 3.3982 | 44.7906 | 154.9722 | 6.2881 | 6.4479 | <DL | 0.22077 | <DL | 3.4257 | 0.93255 | 17.3544 | 4.4029 | 0.73377 | 4.1307 | <DL | <DL | 3.2345 | 6.5573 | <DL | <DL | 0.37331 | <DL | 58.7352 | <DL | <DL | <DL | <DL | 0.43124 | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | 0.12186 | 1.2902 | <DL | <DL | <DL | 0.46795 | 3.1336 | 1.4069 | <DL | <DL | <DL | <DL
BIR-1 | 2.4976 | <DL | <DL | 9354.5344 | 49216.0593 | 69042.5296 | 56.4032 | 109.6038 | 80596.3696 | 5548.8443 | 301.7544 | 355.0382 | 85720.8823 | 1228.9849 | 41.0255 | 231.1129 | 113.1847 | 73.6434 | 14.763 | 0.18524 | 0.56115 | 0.1394 | 0.16243 | 98.8 | 12.6339 | 14.2605 | 0.73048 | 0.12629 | 0.10303 | <DL | 0.74607 | <DL | <DL | 0.72098 | 0.48268 | <DL | <DL | 6.5265 | 0.55363 | 2.0971 | 0.34066 | 2.207 | 1.0044 | 0.48442 | 1.665 | 0.31935 | 2.2263 | 0.49135 | 1.5053 | 0.22103 | 1.5004 | 0.2223 | 0.54365 | 0.29683 | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | 2.7905 | <DL | <DL
Certified value | Li: 3.6; Be: 0.58; Mg: 58500; Al: 82032; Ca: 95317; Ti: 5732; V: 310; Cr: 370; Fe: 79284; Mn: 1355; Co: 52; Cu: 125; Zn: 70; Ga: 16; As: 0.44; Sr: 110; Y: 16; Zr: 18; Nb: 0.6; Sb: 0.58; Ba: 7; La: 0.63; Ce: 2; Nd: 2.5; Sm: 1.1; Eu: 0.55; Gd: 2; Dy: 4; Yb: 1.7; Lu: 0.3; Hf: 0.6 | [7 empty] | 3
% recovery | Li: 69.379; Mg: 84.13; Al: 84.1654; Ca: 84.5561; Ti: 96.8047; V: 97.3401; Cr: 95.9563; Fe: 108.1188; Mn: 90.7; Co: 78.8951; Cu: 90.5478; Zn: 105.2049; Ga: 92.2689; As: 127.5339; Sr: 89.8182; Y: 78.9618; Zr: 79.2249; Nb: 121.747; Sb: 83.2214; Ba: 93.2361; La: 87.8771; Ce: 104.8552; Nd: 88.2793; Sm: 91.3104; Eu: 88.0758; Gd: 83.2483; Dy: 55.6582; Yb: 88.2583; Lu: 74.0984; Hf: 90.6076 | [7 empty] | 93.018
BHVO-2 | 3.0662 | 0.65507 | <DL | 10233.7808 | 31958.8273 | 54620.4393 | 880.4119 | 3165.7784 | 66026.6949 | 16125.3561 | 297.4135 | 255.6244 | 88610.6736 | 1173.6547 | 36.191 | 146.2254 | 126.2643 | 119.2109 | 20.3613 | 0.37036 | 0.95022 | 0.92607 | 6.5095 | 373.3434 | 20.4461 | 156.0363 | 17.291 | 3.9219 | 0.07979 | <DL | 7.3765 | 0.56554 | <DL | 1.6685 | 0.11035 | <DL | <DL | 126.2922 | 13.796 | 35.2861 | 4.5855 | 21.9854 | 5.4376 | 1.7388 | 6.0483 | 0.83919 | 3.9979 | 0.83975 | 1.8967 | 0.24172 | 1.7368 | 0.2199 | 3.699 | 1.3414 | 0.24472 | <DL | <DL | <DL | <DL | <DL | <DL | <DL | 1.6205 | 1.0942 | 0.42775
Certified value | Li: 5; Mg: 43600; Al: 71600; P: 1200; K: 4300; Ca: 81700; Ti: 16300; V: 317; Cr: 280; Fe: 86300; Mn: 1290; Co: 45; Cu: 127; Zn: 103; Ga: 21.7; Rb: 9.8; Sr: 389; Y: 26; Zr: 172; Nb: 18; Ba: 130; La: 15; Ce: 38; Nd: 25; Sm: 6.2; Gd: 6.3; Tb: 0.9; Ho: 1.04; Yb: 2; Lu: 0.28; Hf: 4.1; Ta: 1.4 | [8 empty] | 1.2
% recovery | Li: 61.3239; Mg: 73.3001; Al: 76.2855; P: 73.3677; K: 73.6228; Ca: 80.816; Ti: 98.9286; V: 93.8213; Cr: 91.2944; Fe: 102.6775; Mn: 90.981; Co: 80.4244; Cu: 99.4207; Zn: 115.7387; Ga: 93.831; Rb: 66.4231; Sr: 95.9752; Y: 78.6388; Zr: 90.7188; Nb: 96.0612; Ba: 97.1478; La: 91.9732; Ce: 92.8582; Nd: 87.9417; Sm: 87.7035; Gd: 96.0048; Tb: 93.2431; Ho: 80.7448; Yb: 86.8418; Lu: 78.5373; Hf: 90.2187; Ta: 95.8125 | [8 empty] | 91.181
North Chile | <DL | <DL | <DL | 3.3475 | 3.7037 | 5.5343 | 2726.0255 | <DL | <DL | 3.4733 | 0.83022 | 49.2735 | 1135513.5254 | 2.1107 | 4240.139 | 53489.6074 | 158.1302 | 1.1042 | 59.5642 | 164.2752 | 3.8831 | 3.0341 | <DL | 0.12371 | <DL | 0.82493 | <DL | 7.5835 | 17.5656 | 2.3175 | 1.6685 | <DL | <DL | 11.516 | 0.11302 | <DL | <DL | <DL | <DL | 6.43 | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | 2.2701 | 0.17317 | 0.1854 | 0.1048 | 3.1424 | 21.5326 | 0.60927 | <DL | 0.43756 | <DL | <DL
Certified value | Cr: 68; Co: 4540; Ni: 56500; Cu: 134; Ga: 58.8; Ge: 177; As: 4.73; Ru: 15.2; Rh: 2.86; Pd: 1.72; W: 2.562 | 0.234 | 0.234 | 1.09 | 3.37 | 20.7 | 0.612
% recovery | Cr: 72.461; Co: 93.3951; Ni: 94.6719; Cu: 118.0076; Ga: 101.2997; Ge: 92.8109; As: 82.0952; Ru: 115.5631; Rh: 81.0328; Pd: 97.0039; W: 88.605 | 74.004 | 79.2318 | 9.6149 | 93.2451 | 104.0223 | 99.5547
tabulated

## 1st set July 2019iCAP sideros
Analyte | Cr | Co | Ni60 | Ni62 | Cu63 | Cu65 | Ga | Ge72 | Ge73 | As | Ru101 | Ru102 | Rh | Pd105 | Pd106 | W182 | W184 | Re | Os189 | Os190 | Ir191 | Ir193 | Pt194 | Pt195 | Au
Detection Limits (DL) | 54.624 | 60 | 14.0521 | 14.0521 | 12.6461 | 12.6461 | 9.8054 | 21.2265 | 21.2265 | 20.6282 | 44.3099 | 44.3099 | 60 | 60 | 60 | 16.3819 | 16.3819 | 8.3123 | 42.0063 | 42.0063 | 14.9736 | 14.9736 | 22.4238 | 22.4238 | 60
Unit | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb
OUZ-1 | 25807.1224 | 7793620.0331 | 239285789.9045 | 245250175.3306 | 741722.5865 | 747598.8136 | 30369.6822 | 228088.5573 | 174392.0472 | 2710.6507 | 2792.0526 | 2953.8745 | 818.5328 | 5246.6608 | 6079.6115 | 7404.9234 | 7535.0457 | 47.5147 | <DL | <DL | 596.7342 | 610.8531 | 4698.223 | 4720.5154 | 1760.371
OUZ-2 | 27902.5221 | 8349908.1091 | 244050933.9994 | 250208092.8201 | 708969.8763 | 770993.6547 | 41214.1105 | 254973.0148 | 190180.7595 | 5308.5635 | 2657.4695 | 2788.6304 | 773.0255 | 4988.5467 | 5275.974 | 2884.9121 | 2904.9001 | 43.9039 | <DL | <DL | 563.2714 | 570.5668 | 4302.5071 | 4300.4985 | 1758.6888
OUZ-3 | 20073.9552 | 8434153.7556 | 244743540.9781 | 252939563.5697 | 729260.0916 | 735818.3066 | 44032.8408 | 261139.2903 | 192330.2777 | 5170.419 | 2684.5138 | 2813.545 | 770.6253 | 4829.6136 | 4904.7223 | 2759.6797 | 2787.9318 | 44.3992 | <DL | <DL | 562.4253 | 563.8839 | 4152.4854 | 4178.289 | 1719.7528
OUZ-4 | 22191.7343 | 8172313.2624 | 225607591.2424 | 232203525.5668 | 609543.889 | 616029.1166 | 47743.9072 | 245196.3451 | 178447.9514 | 4932.1537 | 2448.9753 | 2585.0284 | 698.823 | 4519.1594 | 4578.8558 | 1489.8883 | 1514.9162 | 40.4597 | <DL | <DL | 509.8363 | 517.5657 | 3761.3072 | 3811.872 | 1575.3817
North Chile | 49943.7922 | 4420869.6364 | 55195915.0536 | 56562119.0057 | 194762.3791 | 196281.6731 | 63022.7006 | 279005.8546 | 196027.6675 | 1622.9377 | 17476.1225 | 17614.5306 | 2372.2802 | 1626.2153 | 1615.3229 | 2554.8864 | 2582.2248 | 197.942 | 262.4971 | 266.8352 | 3278.4307 | 3337.9657 | 23571.1412 | 23757.1407 | 552.756
Expected value | 68000 | 4540000 | 56500000 | 56500000 | 134000 | 134000 | 58800 | 177000 | 177000 | 4730 | 15200 | 15200 | 2860 | 1720 | 1720 | 2562 | 2562 | 234 | 1090 | 1090 | 3370 | 3370 | 20700 | 20700 | 612
% recovery | 73.4468 | 97.376 | 97.6919 | 100.1099 | 145.3451 | 146.4789 | 107.1815 | 157.6304 | 110.7501 | 34.3116 | 114.9745 | 115.8851 | 82.9469 | 94.5474 | 93.9141 | 99.7223 | 100.7894 | 84.5906 | 24.0823 | 24.4803 | 97.2828 | 99.0494 | 113.8702 | 114.7688 | 90.3196
tabulated

## 2nd set Sept 2019Elan sideros
Analyte | Cr | Co | Ni | Cu | Ga | Ge | As | Ru | Rh | Pd | W | Re | Os | Ir | Pt | Au
Detection Limits (DL) | 0.05 | 0.03 | 0.06 | 0.03 | 0.01 | 0.02 | 0.06 | 0.01 | 0.06 | 0.01 | 0.08 | 0.03 | 0.06 | 0.04 | 0.01 | 0.05
Units | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm
OR-1 | 18.3897 | 7505.9035 | 192511.8173 | 481.4334 | 45.125 | 5.4878 | 15.2728 | 3.8776 | NA | 4.6088 | 1.23 | <DL | <DL | 0.50141 | 3.35 | 2.0132
OR-2 | 23.0289 | 7004.6352 | 178247.1773 | 449.7779 | 48.1507 | 4.6851 | 14.1371 | 3.4044 | NA | 4.0008 | 0.78542 | <DL | <DL | 0.45624 | 3.1812 | 1.6402
OR-3 | 18.8481 | 7331.3267 | 188136.005 | 520.8596 | 45.2286 | 5.0348 | 16.847 | 3.6209 | NA | 4.1372 | 0.67797 | <DL | <DL | 0.46737 | 3.2522 | 1.6716
OR-4 | 23.1168 | 7048.9957 | 177880.4123 | 440.2287 | 47.0335 | 4.6912 | 14.2105 | 3.422 | NA | 3.9548 | 0.74309 | <DL | <DL | 0.43906 | 3.0355 | 1.7138
Gebel Kamil | 16.0855 | 7183.6565 | 183732.3115 | 458.5793 | 48.5133 | 4.6122 | 13.4648 | 3.5866 | NA | 4.0272 | 0.49037 | <DL | 0.15624 | 0.44348 | 3.017 | 1.7365
Gebel Kamil duplicate | 16.4045 | 7176.5236 | 184146.6225 | 455.4506 | 49.1101 | 4.768 | 14.1028 | 3.6167 | NA | 4.0107 | 0.4654 | <DL | 0.17114 | 0.42777 | 3.0756 | 1.7913
North Chile | 22.4763 | 4417.5962 | 54264.6862 | 117.7226 | 60.2167 | 3.6045 | 5.7672 | 17.0233 | NA | 1.95 | 2.8114 | 0.19018 | 0.60315 | 3.3309 | 22.4288 | 1.8281
Expected value | 68 | 4540 | 56500 | 134 | 58.8 | 177 | 4.73 | 15.2 | 2.86 | 1.72 | 2.562 | 0.234 | 1.09 | 3.37 | 20.7 | 0.612
% recovery | 33.0534 | 97.3039 | 96.0437 | 87.8527 | 102.4094 | 2.0365 | 121.929 | 111.9955 | NA | 113.3738 | 109.736 | 81.273 | 55.3352 | 98.8384 | 108.3518 | 298.7047
replaced by newer analysis (Oct 2019) - except for Gebel Kamil

## 2nd set Sept 2019iCAP sideros
Analyte | Cr | Co | Ni60 | Ni62 | Cu63 | Cu65 | Ga | Ge72 | Ge73 | As | Ru101 | Ru102 | Rh | Pd105 | Pd106 | W182 | W184 | Re | Os189 | Os190 | Ir191 | Ir193 | Pt194 | Pt195 | Au
Detection Limits (DL) | 54.624 | 60 | 14.0521 | 14.0521 | 12.6461 | 12.6461 | 9.8054 | 21.2265 | 21.2265 | 20.6282 | 44.3099 | 44.3099 | 60 | 60 | 60 | 16.3819 | 16.3819 | 8.3123 | 42.0063 | 42.0063 | 14.9736 | 14.9736 | 22.4238 | 22.4238 | 60
Unit | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb
OR-1 | 18615.1409 | 7565944.4709 | 191870069.9642 | 206249850.9773 | 449218.3486 | 502615.442 | 50161.2592 | 93425.1118 | 21914.0712 | 15565.7517 | 2289.3784 | 2407.3529 | 654.6695 | 4425.6247 | 4459.4754 | 1103.0186 | 1102.1377 | 38.8866 | <DL | <DL | 474.5545 | 472.5752 | 3510.5653 | 3565.4718 | 1487.6953
OR-2 | 23062.9621 | 7042764.6139 | 176617058.287 | 189632456.7004 | 412445.2435 | 464421.8119 | 53199.1813 | 97164.9394 | 22501.8908 | 14919.4637 | 2146.5072 | 2265.5224 | 629.1334 | 4128.2428 | 4124.2807 | 673.2295 | 672.6641 | 35.1965 | <DL | <DL | 430.6252 | 439.1831 | 3292.2413 | 3318.8382 | 1359.2715
OR-3 | 18795.4614 | 7276831.0367 | 184821025.0326 | 197844752.2289 | 475128.8899 | 531531.8341 | 49624.801 | 96270.6882 | 21625.7183 | 18244.1116 | 2219.4573 | 2352.0424 | 635.9392 | 4180.1307 | 4178.8441 | 592.9616 | 591.2076 | 38.0318 | <DL | <DL | 461.7627 | 467.1549 | 3418.3496 | 3443.6085 | 1418.9531
OR-4 | 22780.1875 | 6963434.1951 | 174768742.2583 | 188368984.5655 | 420307.1463 | 474152.0082 | 55363.6537 | 95958.6338 | 22526.2967 | 16035.9232 | 2138.9774 | 2262.8357 | 601.4458 | 4091.596 | 4095.245 | 630.6293 | 633.5542 | 36.5129 | <DL | <DL | 436.4159 | 453.5635 | 3317.825 | 3335.548 | 1377.4071
Gebel Kamil | 16082.9539 | 7005745.0547 | 179116122.8356 | 191126264.1407 | 455678.4898 | 458150.9644 | 53366.0788 | 100244.5508 | 23926.4568 | 14218.279 | 2146.2227 | 2266.4922 | 616.8365 | 4048.8752 | 4061.145 | 406.7697 | 405.338 | 36.4675 | <DL | <DL | 426.3424 | 440.7653 | 3216.058 | 3265.6885 | 1341.9595
North Chile | 22066.0987 | 4286098.8277 | 53611977.949 | 53453239.8904 | 116889.4524 | 117083.5626 | 57955.4373 | 115955.1576 | 25372.6187 | 4830.9662 | 16471.4544 | 16540.7857 | 3083.0011 | 1777.5616 | 1809.8012 | 2642.3813 | 2655.5697 | 206.8007 | 6297.5552 | 6318.862 | 3179.9349 | 3225.7324 | 22437.2924 | 22785.5464 | 1444.4702
Expected value | 68000 | 4540000 | 56500000 | 56500000 | 134000 | 134000 | 58800 | 177000 | 177000 | 4730 | 15200 | 15200 | 2860 | 1720 | 1720 | 2562 | 2562 | 234 | 1090 | 1090 | 3370 | 3370 | 20700 | 20700 | 612
% recovery | 32.4501 | 94.4075 | 94.8885 | 94.6075 | 87.2309 | 87.3758 | 98.5637 | 65.5114 | 14.3348 | 102.1346 | 108.3648 | 108.821 | 107.7972 | 103.3466 | 105.221 | 103.1374 | 103.6522 | 88.3763 | 577.7574 | 579.7121 | 94.3601 | 95.7191 | 108.3927 | 110.0751 | 236.0245
tabulated

## 2nd set Oct 2019Elan all elems
Analyte | Li | Be | B | Na | Mg | Al | P | K | Ca | Ti | V | Cr | Fe | Mn | Co | Ni | Cu | Zn | Ga | Ge | As | Se | Rb | Sr | Y | Nb | Mo | Ru | Pd | Ag | Cd | Sn | Sb | Te | Cs | Ba | La | Ce | Pr | Nd | Sm | Eu | Gd | Tb | Dy | Ho | Er | Tm | Yb | Lu | W | Re | Ir | Pt | Tl | Au | Pb | Th | U
Detection Limits (DL) | 0.05 | 0.1 | 2 | 0.5 | 2 | 0.2 | 5 | 6 | 31 | 0.09 | 0.05 | 0.05 | 3.7 | 0.03 | 0.03 | 0.06 | 0.03 | 0.08 | 0.01 | 0.02 | 0.06 | 0.2 | 0.04 | 0.03 | 0.02 | 0.04 | 0.02 | 0.01 | 0.06 | 0.01 | 0.06 | 0.06 | 0.01 | 0.02 | 0.02 | 0.03 | 0.03 | 0.03 | 0.04 | 0.03 | 0.04 | 0.03 | 0.03 | 0.03 | 0.04 | 0.02 | 0.04 | 0.06 | 0.05 | 0.04 | 0.08 | 0.03 | 0.04 | 0.01 | 0.05 | 0.06 | 0.03 | 0.01 | 0.03
Units | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm
OR-1 | 0.45925 | <DL | 528.9895 | 861.8727 | <DL | 369.3987 | 831.4676 | <DL | <DL | 53.183 | 2.5189 | 18.3897 | 918831.9692 | 98.418 | 7505.9035 | 209885.7176 | 481.4334 | 4.9759 | 45.125 | 5.4878 | 15.2728 | 8.7133 | <DL | 0.42542 | <DL | 0.6083 | 12.8333 | 3.8776 | 4.6088 | 0.516 | <DL | 2.5654 | 0.4598 | <DL | <DL | 11.7168 | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | 1.23 | <DL | 0.50141 | 3.35 | <DL | 2.0132 | <DL | <DL | <DL
OR-2 | <DL | <DL | 105.1681 | 174.2036 | <DL | 75.1746 | 1068.1568 | <DL | <DL | 14.523 | 1.6213 | 23.0289 | 993208.635 | 25.1841 | 7004.6352 | 199713.1332 | 449.7779 | 4.7695 | 48.1507 | 4.6851 | 14.1371 | 8.2268 | <DL | 0.13522 | <DL | 0.14763 | 12.8427 | 3.4044 | 4.0008 | 0.23766 | <DL | 5.6329 | 0.45772 | <DL | <DL | 5.1183 | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | 0.78542 | <DL | 0.45624 | 3.1812 | <DL | 1.6402 | <DL | <DL | <DL
OR-3 | 0.13089 | <DL | 149.5454 | 260.3316 | <DL | 72.9017 | 888.6313 | <DL | <DL | 18.7433 | 1.1359 | 18.8481 | 952675.4135 | 23.9261 | 7331.3267 | 206303.2033 | 520.8596 | 4.7816 | 45.2286 | 5.0348 | 16.847 | 6.6585 | <DL | <DL | <DL | 0.1507 | 16.2621 | 3.6209 | 4.1372 | 0.17997 | <DL | 2.3602 | 3.4543 | <DL | <DL | 0.92518 | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | 0.67797 | <DL | 0.46737 | 3.2522 | <DL | 1.6716 | <DL | <DL | <DL
OR-4 | <DL | <DL | 99.8048 | 205.9485 | <DL | 46.8953 | 1296.0971 | <DL | <DL | 14.552 | 2.5175 | 23.1168 | 970224.1647 | 21.6534 | 7048.9957 | 193376.5633 | 440.2287 | 4.7633 | 47.0335 | 4.6912 | 14.2105 | 8.239 | <DL | 0.43747 | <DL | 0.12175 | 13.8915 | 3.422 | 3.9548 | 0.83809 | <DL | 2.1137 | 1.0311 | <DL | <DL | 25.5052 | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | 0.74309 | <DL | 0.43906 | 3.0355 | <DL | 1.7138 | <DL | <DL | <DL
GSP-2 | 35.7602 | 1.0624 | <DL | 20969.7792 | 5525.0744 | 68964.7619 | 1238.6495 | 42638.8151 | 12636.6684 | 3493.0727 | 49.1792 | 17.472 | 41074.725 | 283.371 | 7.3871 | 14.1488 | 44.0042 | 106.4371 | 24.7695 | 2.4594 | 2.0495 | 3.7808 | 215.6585 | 185.5049 | 18.5647 | 22.4232 | 2.1946 | <DL | 1.1974 | 10.2732 | <DL | 5.8998 | 0.33388 | <DL | 1.0491 | 1214.8318 | 162.7665 | 401.4082 | 49.2855 | 186.5467 | 24.1006 | 2.5442 | 14.2344 | 1.5301 | 4.9403 | 0.79761 | 2.3724 | 0.21368 | 1.2868 | 0.12707 | 0.40177 | <DL | <DL | <DL | 1.1955 |  | 38.7033 | 96.7014 | 2.0613
Certified value | 36 | 1.5 |  | 20600 | 5800 | 78800 | 1300 | 44800 | 15000 | 4000 | 52 | 20 | 34300 | 320 | 7.3 | 17 | 43 | 120 | 22 |  |  |  | 245 | 240 | 28 | 27 | 2.1 | [7 empty] | 1.2 | 1340 | 180 | 410 | 51 | 200 | 27 | 2.3 | 12 |  | 6.1 | 1 | 2.2 | 0.29 | 1.6 | 0.23 |  |  |  |  | 1.1 |  | 42 | 105 | 2.4
% recovery | 99.3339 | 70.8291 |  | 101.795 | 95.2599 | 87.5187 | 95.2807 | 95.1759 | 84.2445 | 87.3268 | 94.5754 | 87.3602 | 119.7514 | 88.5534 | 101.1933 | 83.2281 | 102.3354 | 88.6976 | 112.5885 |  |  |  | 88.0239 | 77.2937 | 66.3024 | 83.049 | 104.5041 | [7 empty] | 87.4209 | 90.6591 | 90.4258 | 97.9044 | 96.6382 | 93.2733 | 89.2613 | 110.6155 | 118.6202 |  | 80.9891 | 79.7613 | 107.8361 | 73.6826 | 80.4279 | 55.246 |  |  |  |  | 108.6796 |  | 92.1507 | 92.0966 | 85.8882
note - the siderophiles are the same as reported in "2nd set Sept 2019Elan sideros" with the exception of Co and Ni (see below)
New results | Li: rerun of September data for Co and Ni - these replace co and Ni in the data above
Analyte | bar: Be to B
Mass | Be: 0.03; B: 0.06
Units | Be: ppm; B: ppm
OR-1 | Be: 7763.6136; B: 217817.3607
OR-2 | Be: 7189.5836; B: 202331.8931
OR-3 | Be: 7476.6313; B: 212546.2804
OR-4 | Be: 7365.0361; B: 204860.3536
Gebel Kamil | Be: 7193.8921; B: 202088.8243
Gebel Kamil duplicate | Be: 7257.5754; B: 203025.6136
North Chile | Be: 4131.7943; B: 52018.8918
Expected value | Be: 4540; B: 56500
% recovery | Be: 91.0087; B: 92.0688

## Gebel data summary
1st set - one of each sample
from iCAPQ July 2019 | [26 empty] | from Elan 6000 July 2019
Analyte |  | Cr | Co | Ni60 | Ni62 | Cu63 | Cu65 | Ga | Ge72 | Ge73 | As | Ru101 | Ru102 | Rh | Pd105 | Pd106 | W182 | W184 | Re | Os189 | Os190 | Ir191 | Ir193 | Pt194 | Pt195 | Au | Analyte | Li | Be | B | Na | Mg | Al | P | K | Ca | Ti | V | Cr | Fe | Mn | Co | Ni | Cu | Zn | Ga | Ge | As | Se | Rb | Sr | Y | Zr | Nb | Mo | Ru | Rh | Pd | Ag | Cd | Sn | Sb | Te | Cs | Ba | La | Ce | Pr | Nd | Sm | Eu | Gd | Tb | Dy | Ho | Er | Tm | Yb | Lu | Hf | Ta | W | Re185 | Re187 | Os | Ir | Pt | Au | Tl | Pb | Th | U
Detection Limits (DL) |  | 54.624 | 60 | 14.0521 | 14.0521 | 12.6461 | 12.6461 | 9.8054 | 21.2265 | 21.2265 | 20.6282 | 44.3099 | 44.3099 | 60 | 60 | 60 | 16.3819 | 16.3819 | 8.3123 | 42.0063 | 42.0063 | 14.9736 | 14.9736 | 22.4238 | 22.4238 | 60 | Detection Limits (DL) | 0.05 | 0.1 | 2 | 0.5 | 2 | 0.2 | 5 | 6 | 31 | 0.09 | 0.05 | 0.05 | 3.7 | 0.03 | 0.03 | 0.06 | 0.03 | 0.08 | 0.01 | 0.02 | 0.06 | 0.2 | 0.04 | 0.03 | 0.02 | 0.09 | 0.04 | 0.02 | 0.01 | 0.06 | 0.01 | 0.01 | 0.06 | 0.06 | 0.01 | 0.02 | 0.02 | 0.03 | 0.03 | 0.03 | 0.04 | 0.03 | 0.04 | 0.03 | 0.03 | 0.03 | 0.04 | 0.02 | 0.04 | 0.006 | 0.05 | 0.04 | 0.05 | 0.02 | 0.08 | 0.003 | 0.003 | 0.08 | 0.04 | 0.01 | 0.03 | 0.05 | 0.03 | 0.01 | 0.03
Units |  | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | Units | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm
NORTH CHILE |  | 49943.7922 | 4420869.6364 | 55195915.0536 | 56562119.0057 | 194762.3791 | 196281.6731 | 63022.7006 | 279005.8546 | 196027.6675 | 1622.9377 | 17476.1225 | 17614.5306 | 2372.2802 | 1626.2153 | 1615.3229 | 2554.8864 | 2582.2248 | 197.942 | 262.4971 | 266.8352 | 3278.4307 | 3337.9657 | 23571.1412 | 23757.1407 | 552.756 | BIR-1 | 2.4976 | <DL | <DL | 9354.5344 | 49216.0593 | 69042.5296 | 56.4032 | 109.6038 | 80596.3696 | 5548.8443 | 301.7544 | 355.0382 | 85720.8823 | 1228.9849 | 41.0255 | 231.1129 | 113.1847 | 73.6434 | 14.763 | 0.18524 | 0.56115 | 0.1394 | 0.16243 | 98.8 | 12.6339 | 14.2605 | 0.73048 | 0.12629 | 0.10303 | <DL | 0.74607 | <DL | <DL | 0.72098 | 0.48268 | <DL | <DL | 6.5265 | 0.55363 | 2.0971 | 0.34066 | 2.207 | 1.0044 | 0.48442 | 1.665 | 0.31935 | 2.2263 | 0.49135 | 1.5053 | 0.22103 | 1.5004 | 0.2223 | 0.54365 | 0.29683 | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | 2.7905 | <DL | <DL
Expected value |  | 68000 | 4540000 | 56500000 | 56500000 | 134000 | 134000 | 58800 | 177000 | 177000 | 4730 | 15200 | 15200 | 2860 | 1720 | 1720 | 2562 | 2562 | 234 | 1090 | 1090 | 3370 | 3370 | 20700 | 20700 | 612 | Certified value | 3.6 | 0.58 |  |  | 58500 | 82032 |  |  | 95317 | 5732 | 310 | 370 | 79284 | 1355 | 52 |  | 125 | 70 | 16 |  | 0.44 |  |  | 110 | 16 | 18 | 0.6 | [7 empty] | 0.58 |  |  | 7 | 0.63 | 2 |  | 2.5 | 1.1 | 0.55 | 2 |  | 4 |  |  |  | 1.7 | 0.3 | 0.6 | [9 empty] | 3
% recovery |  | 73.4468 | 97.376 | 97.6919 | 100.1099 | 145.3451 | 146.4789 | 107.1815 | 157.6304 | 110.7501 | 34.3116 | 114.9745 | 115.8851 | 82.9469 | 94.5474 | 93.9141 | 99.7223 | 100.7894 | 84.5906 | 24.0823 | 24.4803 | 97.2828 | 99.0494 | 113.8702 | 114.7688 | 90.3196 | % recovery | 69.379 |  |  |  | 84.13 | 84.1654 |  |  | 84.5561 | 96.8047 | 97.3401 | 95.9563 | 108.1188 | 90.7 | 78.8951 |  | 90.5478 | 105.2049 | 92.2689 |  | 127.5339 |  |  | 89.8182 | 78.9618 | 79.2249 | 121.747 | [7 empty] | 83.2214 |  |  | 93.2361 | 87.8771 | 104.8552 |  | 88.2793 | 91.3104 | 88.0758 | 83.2483 |  | 55.6582 |  |  |  | 88.2583 | 74.0984 | 90.6076 | [9 empty] | 93.018
[27 empty] | BHVO-2 | 3.0662 | 0.65507 | <DL | 10233.7808 | 31958.8273 | 54620.4393 | 880.4119 | 3165.7784 | 66026.6949 | 16125.3561 | 297.4135 | 255.6244 | 88610.6736 | 1173.6547 | 36.191 | 146.2254 | 126.2643 | 119.2109 | 20.3613 | 0.37036 | 0.95022 | 0.92607 | 6.5095 | 373.3434 | 20.4461 | 156.0363 | 17.291 | 3.9219 | 0.07979 | <DL | 7.3765 | 0.56554 | <DL | 1.6685 | 0.11035 | <DL | <DL | 126.2922 | 13.796 | 35.2861 | 4.5855 | 21.9854 | 5.4376 | 1.7388 | 6.0483 | 0.83919 | 3.9979 | 0.83975 | 1.8967 | 0.24172 | 1.7368 | 0.2199 | 3.699 | 1.3414 | 0.24472 | <DL | <DL | <DL | <DL | <DL | <DL | <DL | 1.6205 | 1.0942 | 0.42775
[27 empty] | Certified value | 5 |  |  |  | 43600 | 71600 | 1200 | 4300 | 81700 | 16300 | 317 | 280 | 86300 | 1290 | 45 |  | 127 | 103 | 21.7 |  |  |  | 9.8 | 389 | 26 | 172 | 18 | [10 empty] | 130 | 15 | 38 |  | 25 | 6.2 |  | 6.3 | 0.9 |  | 1.04 |  |  | 2 | 0.28 | 4.1 | 1.4 | [9 empty] | 1.2
[27 empty] | % recovery | 61.3239 |  |  |  | 73.3001 | 76.2855 | 73.3677 | 73.6228 | 80.816 | 98.9286 | 93.8213 | 91.2944 | 102.6775 | 90.981 | 80.4244 |  | 99.4207 | 115.7387 | 93.831 |  |  |  | 66.4231 | 95.9752 | 78.6388 | 90.7188 | 96.0612 | [10 empty] | 97.1478 | 91.9732 | 92.8582 |  | 87.9417 | 87.7035 |  | 96.0048 | 93.2431 |  | 80.7448 |  |  | 86.8418 | 78.5373 | 90.2187 | 95.8125 | [9 empty] | 91.181
OUZ-1 |  | 25807.1224 | 7793620.0331 | 239285789.9045 | 245250175.3306 | 741722.5865 | 747598.8136 | 30369.6822 | 228088.5573 | 174392.0472 | 2710.6507 | 2792.0526 | 2953.8745 | 818.5328 | 5246.6608 | 6079.6115 | 7404.9234 | 7535.0457 | 47.5147 | <DL | <DL | 596.7342 | 610.8531 | 4698.223 | 4720.5154 | 1760.371 | OUZ-1 | 10.9404 | <DL | 8173.5903 | 11900.9957 | 22.0158 | 5339.1037 | 1484.9358 | <DL | 537.0257 | 727.5467 | 4.6046 | 26.2233 | 637448.5409 | 1395.2652 | 6349.3789 | 243075.5084 | 613.4084 | 4.5553 | 31.0853 | 170.0258 | 4.741 | 6.6666 | <DL | 3.3475 | 0.58526 | 54.4192 | 8.3444 | 30.3196 | 4.9469 | 0.91294 | 7.1472 | 0.23849 | <DL | 4.9231 | 11.8843 | <DL | <DL | 3.8182 | 0.46603 | 7.0322 | 0.10066 | 0.36662 | <DL | <DL | 0.11847 | <DL | <DL | <DL | <DL | <DL | <DL | <DL | 0.98721 | 1.0001 | 6.9639 | <DL | <DL | <DL | 0.57268 | 3.9866 | 1.6365 | <DL | <DL | 0.60344 | <DL
OUZ-2 |  | 27902.5221 | 8349908.1091 | 244050933.9994 | 250208092.8201 | 708969.8763 | 770993.6547 | 41214.1105 | 254973.0148 | 190180.7595 | 5308.5635 | 2657.4695 | 2788.6304 | 773.0255 | 4988.5467 | 5275.974 | 2884.9121 | 2904.9001 | 43.9039 | <DL | <DL | 563.2714 | 570.5668 | 4302.5071 | 4300.4985 | 1758.6888 | OUZ-2 | 2.813 | <DL | 2240.4951 | 2842.0461 | 5.9212 | 1636.0661 | 830.5713 | <DL | 165.1579 | 259.2339 | 2.1973 | 28.2149 | 778995.2554 | 453.3122 | 7300.1277 | 243645.4784 | 591.7981 | 3.4457 | 39.0824 | 171.1235 | 6.8431 | 6.3274 | <DL | 1.029 | 0.20077 | 21.009 | 2.8595 | 23.4683 | 4.7114 | 0.84417 | 6.1012 | <DL | <DL | 3.7472 | 7.7632 | <DL | <DL | 1.1542 | 0.13918 | 0.28848 | <DL | 0.10872 | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | 0.3907 | 0.25591 | 2.6166 | <DL | <DL | <DL | 0.52162 | 3.7187 | 1.5739 | <DL | <DL | 0.18579 | <DL
OUZ-3 |  | 20073.9552 | 8434153.7556 | 244743540.9781 | 252939563.5697 | 729260.0916 | 735818.3066 | 44032.8408 | 261139.2903 | 192330.2777 | 5170.419 | 2684.5138 | 2813.545 | 770.6253 | 4829.6136 | 4904.7223 | 2759.6797 | 2787.9318 | 44.3992 | <DL | <DL | 562.4253 | 563.8839 | 4152.4854 | 4178.289 | 1719.7528 | OUZ-3 | 0.40672 | <DL | 434.9812 | 646.7152 | <DL | 320.7482 | 644.6308 | <DL | <DL | 70.5127 | 2.4459 | 19.9411 | 868261.306 | 183.6396 | 7222.0094 | 242825.9503 | 569.9032 | 2.9882 | 41.1016 | 169.2389 | 7.0874 | 7.0627 | <DL | 0.17123 | <DL | 3.13 | 0.95269 | 23.8499 | 4.791 | 0.83574 | 4.6907 | <DL | <DL | 5.3197 | 11.1677 | <DL | <DL | 0.23153 | <DL | 34.7757 | <DL | <DL | <DL | <DL | 0.28014 | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | 0.11132 | 2.4216 | <DL | <DL | <DL | 0.49904 | 3.4549 | 1.4986 | <DL | <DL | <DL | <DL
OUZ-4 |  | 22191.7343 | 8172313.2624 | 225607591.2424 | 232203525.5668 | 609543.889 | 616029.1166 | 47743.9072 | 245196.3451 | 178447.9514 | 4932.1537 | 2448.9753 | 2585.0284 | 698.823 | 4519.1594 | 4578.8558 | 1489.8883 | 1514.9162 | 40.4597 | <DL | <DL | 509.8363 | 517.5657 | 3761.3072 | 3811.872 | 1575.3817 | OUZ-4 | 0.31082 | <DL | 605.6497 | 839.1393 | <DL | 500.0167 | 759.2585 | <DL | <DL | 90.0334 | 1.7764 | 21.9704 | 892915.5733 | 131.9795 | 7331.5124 | 230023.8552 | 505.3898 | 3.3982 | 44.7906 | 154.9722 | 6.2881 | 6.4479 | <DL | 0.22077 | <DL | 3.4257 | 0.93255 | 17.3544 | 4.4029 | 0.73377 | 4.1307 | <DL | <DL | 3.2345 | 6.5573 | <DL | <DL | 0.37331 | <DL | 58.7352 | <DL | <DL | <DL | <DL | 0.43124 | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | 0.12186 | 1.2902 | <DL | <DL | <DL | 0.46795 | 3.1336 | 1.4069 | <DL | <DL | <DL | <DL
|  | Cr (ppm) | Co (mg/g) | Ni (mg/g) | Ni (mg/g) | Cu (ppm) | Cu (ppm) | Ga (ppm) | Ge (ppm) | Ge (ppm) | As (ppm) | Ru (ppm) | Ru (ppm) | Rh (ppm) | Pd (ppm) | Pd (ppm) | W (ppm) | W (ppm) | Re (ppm) | Os (ppm) | Os (ppm) | Ir (ppm) | Ir (ppm) | Pt (ppm) | Pt (ppm) | Au (ppm) | (all ppm unless otherwise stated) | Li | Be | B | Na | Mg | Al | P | K | Ca | Ti | V | Cr | Fe (mg/g) | Mn | Co (mg/g) | Ni(mg/g) | Cu | Zn | Ga | Ge | As | Se | Rb | Sr | Y | Zr | Nb | Mo | Ru | Rh | Pd | Ag | Cd | Sn | Sb | Te | Cs | Ba | La | Ce | Pr | Nd | Sm | Eu | Gd | Tb | Dy | Ho | Er | Tm | Yb | Lu | Hf | Ta | W | Re185 | Re187 | Os | Ir | Pt | Au | Tl | Pb | Th | U
OUZ-1 |  | 25.8071 | 7.7936 | 239.2858 | 245.2502 | 741.7226 | 747.5988 | 30.3697 | 228.0886 | 174.392 | 2.7107 | 2.7921 | 2.9539 | 0.81853 | 5.2467 | 6.0796 | 7.4049 | 7.535 | 0.047515 | <DL | <DL | 0.59673 | 0.61085 | 4.6982 | 4.7205 | 1.7604 |  | 10.9404 |  | 8173.5903 | 11900.9957 | 22.0158 | 5339.1037 | 1484.9358 | <DL | 537.0257 | 727.5467 | 4.6046 | 26.2233 | 637.4485 | 1395.2652 | 6.3494 | 243.0755 | 613.4084 | 4.5553 | 31.0853 | 170.0258 | 4.741 | 6.6666 | <DL | 3.3475 | 0.58526 | 54.4192 | 8.3444 | 30.3196 | 4.9469 | 0.91294 | 7.1472 | 0.23849 | <DL | 4.9231 | 11.8843 | <DL | <DL | 3.8182 | 0.46603 | 7.0322 | 0.10066 | 0.36662 | <DL | <DL | 0.11847 | <DL | <DL | <DL | <DL | <DL | <DL | <DL | 0.98721 | 1.0001 | 6.9639 | <DL | <DL | <DL | 0.57268 | 3.9866 | 1.6365 | <DL | <DL | 0.60344 | <DL
OUZ-2 |  | 27.9025 | 8.3499 | 244.0509 | 250.2081 | 708.9699 | 770.9937 | 41.2141 | 254.973 | 190.1808 | 5.3086 | 2.6575 | 2.7886 | 0.77303 | 4.9885 | 5.276 | 2.8849 | 2.9049 | 0.043904 | <DL | <DL | 0.56327 | 0.57057 | 4.3025 | 4.3005 | 1.7587 |  | 2.813 |  | 2240.4951 | 2842.0461 | 5.9212 | 1636.0661 | 830.5713 | <DL | 165.1579 | 259.2339 | 2.1973 | 28.2149 | 778.9953 | 453.3122 | 7.3001 | 243.6455 | 591.7981 | 3.4457 | 39.0824 | 171.1235 | 6.8431 | 6.3274 | <DL | 1.029 | 0.20077 | 21.009 | 2.8595 | 23.4683 | 4.7114 | 0.84417 | 6.1012 | <DL | <DL | 3.7472 | 7.7632 | <DL | <DL | 1.1542 | 0.13918 | 0.28848 | <DL | 0.10872 | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | 0.3907 | 0.25591 | 2.6166 | <DL | <DL | <DL | 0.52162 | 3.7187 | 1.5739 | <DL | <DL | 0.18579 | <DL
OUZ-3 |  | 20.074 | 8.4342 | 244.7435 | 252.9396 | 729.2601 | 735.8183 | 44.0328 | 261.1393 | 192.3303 | 5.1704 | 2.6845 | 2.8135 | 0.77063 | 4.8296 | 4.9047 | 2.7597 | 2.7879 | 0.044399 | <DL | <DL | 0.56243 | 0.56388 | 4.1525 | 4.1783 | 1.7198 |  | 0.40672 |  | 434.9812 | 646.7152 | <DL | 320.7482 | 644.6308 | <DL | <DL | 70.5127 | 2.4459 | 19.9411 | 868.2613 | 183.6396 | 7.222 | 242.826 | 569.9032 | 2.9882 | 41.1016 | 169.2389 | 7.0874 | 7.0627 | <DL | 0.17123 | <DL | 3.13 | 0.95269 | 23.8499 | 4.791 | 0.83574 | 4.6907 | <DL | <DL | 5.3197 | 11.1677 | <DL | <DL | 0.23153 | <DL | 34.7757 | <DL | <DL | <DL | <DL | 0.28014 | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | 0.11132 | 2.4216 | <DL | <DL | <DL | 0.49904 | 3.4549 | 1.4986 | <DL | <DL | <DL | <DL
OUZ-4 |  | 22.1917 | 8.1723 | 225.6076 | 232.2035 | 609.5439 | 616.0291 | 47.7439 | 245.1963 | 178.448 | 4.9322 | 2.449 | 2.585 | 0.69882 | 4.5192 | 4.5789 | 1.4899 | 1.5149 | 0.04046 | <DL | <DL | 0.50984 | 0.51757 | 3.7613 | 3.8119 | 1.5754 |  | 0.31082 |  | 605.6497 | 839.1393 | <DL | 500.0167 | 759.2585 | <DL | <DL | 90.0334 | 1.7764 | 21.9704 | 892.9156 | 131.9795 | 7.3315 | 230.0239 | 505.3898 | 3.3982 | 44.7906 | 154.9722 | 6.2881 | 6.4479 | <DL | 0.22077 | <DL | 3.4257 | 0.93255 | 17.3544 | 4.4029 | 0.73377 | 4.1307 | <DL | <DL | 3.2345 | 6.5573 | <DL | <DL | 0.37331 | <DL | 58.7352 | <DL | <DL | <DL | <DL | 0.43124 | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | 0.12186 | 1.2902 | <DL | <DL | <DL | 0.46795 | 3.1336 | 1.4069 | <DL | <DL | <DL | <DL
% change (-decrease) |  | -14.0093 | 4.859 | -5.7163 | -5.3197 | -17.8205 | -17.599 | 57.2091 | 7.5005 | 2.3257 | 81.9546 | -12.2876 | -12.4869 | -14.6249 | -13.866 | -24.6851 | -79.8798 | -79.8951 | -14.8481 |  |  | -14.5622 | -15.2717 | -19.9419 | -19.2488 | -10.5085 |  | -97.159 |  | -92.5902 | -92.949 | -73.1048 | -90.6348 | -48.8693 |  | -69.2458 | -87.6251 | -61.4213 | -16.2178 | 40.0765 | -90.5409 | 15.4682 | -5.3694 | Cu: -17.6096; Zn: -25.4007; Ga: 44.0894; Ge: -8.8537; As: 32.6325; Se: -3.281; Sr: -93.405; Y: -65.6947; Zr: -93.7051; Nb: -88.8242; Mo: -42.7618; Ru: -10.9972; Rh: -19.6259; Pd: -42.205; Sn: -34.2986; Sb: -44.8237; Ba: -90.2229; La: -70.1345; Ce: 735.2362; Gd: 263.9954; Ta: -87.8143; W: -81.4725 |  |  |  | -18.2876 | -21.396 | -14.0296
Gebel Kamil (MB 98, with D'Orazio and Folco 2003 method) |  |  | 7.5 | 198 | 198 | 464 | 464 | 49 |  | 121 | 15.6 | 2.11 |  | 0.75 | 4.8 |  | 0.66 |  | 0.04 |  |  | 0.39 |  | 3.5 |  | 1.57
Needs:
analysis of Gebel using our instrumentation (note difference from reported values for some elements) - done; see below
replicates of same four samples
assessment of degree of change, using mass balance (to do after next set of analyses), including other elements of interest (e.g., Mn, other?)
2nd set - replicates of each sample, plus fragment of Gebel for comparison using the same instrumentation
from iCAPQ Sept 2019 | [26 empty] | from Elan 6000 Oct 2019
Analyte |  | Cr | Co | Ni60 | Ni62 | Cu63 | Cu65 | Ga | Ge72 | Ge73 | As | Ru101 | Ru102 | Rh | Pd105 | Pd106 | W182 | W184 | Re | Os189 | Os190 | Ir191 | Ir193 | Pt194 | Pt195 | Au | Analyte | Li | Be | B | Na | Mg | Al | P | K | Ca | Ti | V | Cr | Fe | Mn | Co | Ni | Cu | Zn | Ga | Ge | As | Se | Rb | Sr | Y | Nb | Mo | Ru | Pd | Ag | Cd | Sn | Sb | Te | Cs | Ba | La | Ce | Pr | Nd | Sm | Eu | Gd | Tb | Dy | Ho | Er | Tm | Yb | Lu | W | Re | Os | Ir | Pt | Tl | Au | Pb | Th | U
Detection Limits (DL) |  | 54.624 | 60 | 14.0521 | 14.0521 | 12.6461 | 12.6461 | 9.8054 | 21.2265 | 21.2265 | 20.6282 | 44.3099 | 44.3099 | 60 | 60 | 60 | 16.3819 | 16.3819 | 8.3123 | 42.0063 | 42.0063 | 14.9736 | 14.9736 | 22.4238 | 22.4238 | 60 | Detection Limits (DL) | 0.05 | 0.1 | 2 | 0.5 | 2 | 0.2 | 5 | 6 | 31 | 0.09 | 0.05 | 0.05 | 3.7 | 0.03 | 0.03 | 0.06 | 0.03 | 0.08 | 0.01 | 0.02 | 0.06 | 0.2 | 0.04 | 0.03 | 0.02 | 0.04 | 0.02 | 0.01 | 0.06 | 0.01 | 0.06 | 0.06 | 0.01 | 0.02 | 0.02 | 0.03 | 0.03 | 0.03 | 0.04 | 0.03 | 0.04 | 0.03 | 0.03 | 0.03 | 0.04 | 0.02 | 0.04 | 0.06 | 0.05 | 0.04 | 0.08 | 0.03 | 0.06 | 0.04 | 0.01 | 0.05 | 0.06 | 0.03 | 0.01 | 0.03
Unit |  | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | Units | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm
[39 empty] | North Chile |  |  | North Chile | North Chile | North Chile |  | North Chile | North Chile | North Chile | [6 empty] | North Chile | North Chile | [21 empty] | North Chile | North Chile | North Chile | North Chile | North Chile |  | North Chile
North Chile |  | 22066.0987 | 4286098.8277 | 53611977.949 | 53453239.8904 | 116889.4524 | 117083.5626 | 57955.4373 | 115955.1576 | 25372.6187 | 4830.9662 | 16471.4544 | 16540.7857 | 3083.0011 | 1777.5616 | 1809.8012 | 2642.3813 | 2655.5697 | 206.8007 | 6297.5552 | 6318.862 | 3179.9349 | 3225.7324 | 22437.2924 | 22785.5464 | 1444.4702 | GSP-2 | 35.7602 | 1.0624 | <DL | 20969.7792 | 5525.0744 | 68964.7619 | 1238.6495 | 42638.8151 | 12636.6684 | 3493.0727 | 49.1792 | 22.4763 | 41074.725 | 283.371 | 4131.7943 | 52018.8918 | 117.7226 | 106.4371 | 60.2167 | 3.6045 | 5.7672 | 3.7808 | 215.6585 | 185.5049 | 18.5647 | 22.4232 | 2.1946 | 17.0233 | 1.95 | 10.2732 | <DL | 5.8998 | 0.33388 | <DL | 1.0491 | 1214.8318 | 162.7665 | 401.4082 | 49.2855 | 186.5467 | 24.1006 | 2.5442 | 14.2344 | 1.5301 | 4.9403 | 0.79761 | 2.3724 | 0.21368 | 1.2868 | 0.12707 | 2.8114 | 0.19018 | 0.60315 | 3.3309 | 22.4288 | 1.1955 | 1.8281 | 38.7033 | 96.7014 | 2.0613
Expected value |  | 68000 | 4540000 | 56500000 | 56500000 | 134000 | 134000 | 58800 | 177000 | 177000 | 4730 | 15200 | 15200 | 2860 | 1720 | 1720 | 2562 | 2562 | 234 | 1090 | 1090 | 3370 | 3370 | 20700 | 20700 | 612 | Certified value | 36 | 1.5 |  | 20600 | 5800 | 78800 | 1300 | 44800 | 15000 | 4000 | 52 | 68 | 34300 | 320 | 4540 | 56500 | 134 | 120 | 58.8 | 177 | 4.73 |  | 245 | 240 | 28 | 27 | 2.1 | 15.2 | 1.72 | [5 empty] | 1.2 | 1340 | 180 | 410 | 51 | 200 | 27 | 2.3 | 12 |  | 6.1 | 1 | 2.2 | 0.29 | 1.6 | 0.23 | 2.562 | 0.234 | 1.09 | 3.37 | 20.7 | 1.1 | 0.612 | 42 | 105 | 2.4
% recovery |  | 32.4501 | 94.4075 | 94.8885 | 94.6075 | 87.2309 | 87.3758 | 98.5637 | 65.5114 | 14.3348 | 102.1346 | 108.3648 | 108.821 | 107.7972 | 103.3466 | 105.221 | 103.1374 | 103.6522 | 88.3763 | 577.7574 | 579.7121 | 94.3601 | 95.7191 | 108.3927 | 110.0751 | 236.0245 | % recovery | 99.3339 | 70.8291 |  | 101.795 | 95.2599 | 87.5187 | 95.2807 | 95.1759 | 84.2445 | 87.3268 | 94.5754 | 33.0534 | 119.7514 | 88.5534 | 91.0087 | 92.0688 | 87.8527 | 88.6976 | 102.4094 | 2.0365 | 121.929 |  | 88.0239 | 77.2937 | 66.3024 | 83.049 | 104.5041 | 111.9955 | 113.3738 | [5 empty] | 87.4209 | 90.6591 | 90.4258 | 97.9044 | 96.6382 | 93.2733 | 89.2613 | 110.6155 | 118.6202 |  | 80.9891 | 79.7613 | 107.8361 | 73.6826 | 80.4279 | 55.246 | 109.736 | 81.273 | 55.3352 | 98.8384 | 108.3518 | 108.6796 | 298.7047 | 92.1507 | 92.0966 | 85.8882
OUZ-1, rep 2 |  | 18615.1409 | 7565944.4709 | 191870069.9642 | 206249850.9773 | 449218.3486 | 502615.442 | 50161.2592 | 93425.1118 | 21914.0712 | 15565.7517 | 2289.3784 | 2407.3529 | 654.6695 | 4425.6247 | 4459.4754 | 1103.0186 | 1102.1377 | 38.8866 | <DL | <DL | 474.5545 | 472.5752 | 3510.5653 | 3565.4718 | 1487.6953 | OR-1 | 0.45925 | <DL | 528.9895 | 861.8727 | <DL | 369.3987 | 831.4676 | <DL | <DL | 53.183 | 2.5189 | 18.3897 | 918831.9692 | 98.418 | 7763.6136 | 217817.3607 | 481.4334 | 4.9759 | 45.125 | 5.4878 | 15.2728 | 8.7133 | <DL | 0.42542 | <DL | 0.6083 | 12.8333 | 3.8776 | 4.6088 | 0.516 | <DL | 2.5654 | 0.4598 | <DL | <DL | 11.7168 | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | 1.23 | <DL | <DL | 0.50141 | 3.35 | <DL | 2.0132 | <DL | <DL | <DL
OUZ-2, rep 2 |  | 23062.9621 | 7042764.6139 | 176617058.287 | 189632456.7004 | 412445.2435 | 464421.8119 | 53199.1813 | 97164.9394 | 22501.8908 | 14919.4637 | 2146.5072 | 2265.5224 | 629.1334 | 4128.2428 | 4124.2807 | 673.2295 | 672.6641 | 35.1965 | <DL | <DL | 430.6252 | 439.1831 | 3292.2413 | 3318.8382 | 1359.2715 | OR-2 | <DL | <DL | 105.1681 | 174.2036 | <DL | 75.1746 | 1068.1568 | <DL | <DL | 14.523 | 1.6213 | 23.0289 | 993208.635 | 25.1841 | 7189.5836 | 202331.8931 | 449.7779 | 4.7695 | 48.1507 | 4.6851 | 14.1371 | 8.2268 | <DL | 0.13522 | <DL | 0.14763 | 12.8427 | 3.4044 | 4.0008 | 0.23766 | <DL | 5.6329 | 0.45772 | <DL | <DL | 5.1183 | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | 0.78542 | <DL | <DL | 0.45624 | 3.1812 | <DL | 1.6402 | <DL | <DL | <DL
OUZ-3, rep 2 |  | 18795.4614 | 7276831.0367 | 184821025.0326 | 197844752.2289 | 475128.8899 | 531531.8341 | 49624.801 | 96270.6882 | 21625.7183 | 18244.1116 | 2219.4573 | 2352.0424 | 635.9392 | 4180.1307 | 4178.8441 | 592.9616 | 591.2076 | 38.0318 | <DL | <DL | 461.7627 | 467.1549 | 3418.3496 | 3443.6085 | 1418.9531 | OR-3 | 0.13089 | <DL | 149.5454 | 260.3316 | <DL | 72.9017 | 888.6313 | <DL | <DL | 18.7433 | 1.1359 | 18.8481 | 952675.4135 | 23.9261 | 7476.6313 | 212546.2804 | 520.8596 | 4.7816 | 45.2286 | 5.0348 | 16.847 | 6.6585 | <DL | <DL | <DL | 0.1507 | 16.2621 | 3.6209 | 4.1372 | 0.17997 | <DL | 2.3602 | 3.4543 | <DL | <DL | 0.92518 | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | 0.67797 | <DL | <DL | 0.46737 | 3.2522 | <DL | 1.6716 | <DL | <DL | <DL
OUZ-4, rep 2 |  | 22780.1875 | 6963434.1951 | 174768742.2583 | 188368984.5655 | 420307.1463 | 474152.0082 | 55363.6537 | 95958.6338 | 22526.2967 | 16035.9232 | 2138.9774 | 2262.8357 | 601.4458 | 4091.596 | 4095.245 | 630.6293 | 633.5542 | 36.5129 | <DL | <DL | 436.4159 | 453.5635 | 3317.825 | 3335.548 | 1377.4071 | OR-4 | <DL | <DL | 99.8048 | 205.9485 | <DL | 46.8953 | 1296.0971 | <DL | <DL | 14.552 | 2.5175 | 23.1168 | 970224.1647 | 21.6534 | 7365.0361 | 204860.3536 | 440.2287 | 4.7633 | 47.0335 | 4.6912 | 14.2105 | 8.239 | <DL | 0.43747 | <DL | 0.12175 | 13.8915 | 3.422 | 3.9548 | 0.83809 | <DL | 2.1137 | 1.0311 | <DL | <DL | 25.5052 | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | 0.74309 | <DL | <DL | 0.43906 | 3.0355 | <DL | 1.7138 | <DL | <DL | <DL
Gebel Kamil |  | 16082.9539 | 7005745.0547 | 179116122.8356 | 191126264.1407 | 455678.4898 | 458150.9644 | 53366.0788 | 100244.5508 | 23926.4568 | 14218.279 | 2146.2227 | 2266.4922 | 616.8365 | 4048.8752 | 4061.145 | 406.7697 | 405.338 | 36.4675 | <DL | <DL | 426.3424 | 440.7653 | 3216.058 | 3265.6885 | 1341.9595 | Gebel Kamil* | [11 empty] | 16.0855 |  |  | 7193.8921 | 202088.8243 | 458.5793 |  | 48.5133 | 4.6122 | 13.4648 | [6 empty] | 3.5866 | 4.0272 | [21 empty] | 0.49037 | <DL | 0.15624 | 0.44348 | 3.017 |  | 1.7365
[27 empty] | Gebel Kamil duplicate* | [11 empty] | 16.4045 |  |  | 7257.5754 | 203025.6136 | 455.4506 |  | 49.1101 | 4.768 | 14.1028 | [6 empty] | 3.6167 | 4.0107 | [21 empty] | 0.4654 | <DL | 0.17114 | 0.42777 | 3.0756 |  | 1.7913
*from Sept data
BELOW THIS LINE IS A SUMMARY OF ALL THE DATA FROM BOTH INSTRUMENTS. ON THIS SIDE ARE THE iCAP RESULTS - SIDEROPHILES ONLY. ON THE FAR RIGHT ARE THE ELAN 6000 RESULTS, WHICH INCLUDE ALL TRACE ELEMENTS.
|  | Cr (ppm) | Co (mg/g) | Ni (mg/g) | Ni (mg/g) | Cu63 (ppm) | Cu65 (ppm) | Ga (ppm) | Ge (ppm) | Ge (ppm) | As (ppm) | Ru (ppm) | Ru (ppm) | Rh (ppm) | Pd (ppm) | Pd (ppm) | W (ppm) | W (ppm) | Re (ppm) | Os (ppm) | Os (ppm) | Ir (ppm) | Ir (ppm) | Pt (ppm) | Pt (ppm) | Au (ppm) | (all ppm unless otherwise stated) | Li | Be | B | Na | Mg | Al | P | K | Ca | Ti | V | Cr | Fe (mg/g) | Mn | Co (mg/g) | Ni(mg/g) | Cu | Zn | Ga | Ge | As | Se | Rb | Sr | Y | Nb | Mo | Ru | Pd | Ag | Cd | Sn | Sb | Te | Cs | Ba | La | Ce | Pr | Nd | Sm | Eu | Gd | Tb | Dy | Ho | Er | Tm | Yb | Lu | W | Re | Os | Ir | Pt | Tl | Au | Pb | Th | U
Gebel Kamil | Gebel Kamil | 16.083 | 7.0057 | 179.1161 | 191.1263 | 455.6785 | 458.151 | 53.3661 | 100.2446 | 23.9265 | 14.2183 | 2.1462 | 2.2665 | 0.61684 | 4.0489 | 4.0611 | 0.40677 | 0.40534 | 0.036468 | <DL | <DL | 0.42634 | 0.44077 | 3.2161 | 3.2657 | 1.342 | Gebel Kamil* | [11 empty] | 16.0855 |  |  | 7.1939 | 202.0888 | Cu: 458.5793; Ga: 48.5133; Ge: 4.6122; As: 13.4648; Ru: 3.5866; Pd: 4.0272; W: 0.49037; Re: <DL; Os: 0.15624; Ir: 0.44348; Pt: 3.017; Au: 1.7365
|  | ave both | ave both |  | ave both | ave both |  | ave both | iCAP only |  | ave both | iCAP only | iCAP only | iCAP only | ave both |  | ave both |  | iCAP only |  |  | ave both |  | ave both |  | iCAP only | Gebel Kamil duplicate* | [11 empty] | 16.4045 |  |  | 7.2576 | 203.0256 | Cu: 455.4506; Ga: 49.1101; Ge: 4.768; As: 14.1028; Ru: 3.6167; Pd: 4.0107; W: 0.4654; Re: <DL; Os: 0.17114; Ir: 0.42777; Pt: 3.0756; Au: 1.7913
Gebel Kamil average (all) - best |  | 16.191 | 7.1524 |  | 198.7469 | 456.5695 |  | 50.3298 | 100.2446 |  | 13.9286 | 2.1462 | 2.2665 | 0.61684 | 4.0289 |  | 0.45418 |  | 0.036468 |  |  | 0.43253 |  | 3.1029 |  | 1.342 | Gebel Kamil average (all) | [11 empty] | 16.191 |  |  | 7.1524 | 198.7469 | Cu: 456.5695; Ga: 50.3298; Ge: 11.1022; As: 13.9286; Ru: 3.6017; Pd: 4.0289; W: 0.45418; Re: 0.036468; Os: 0.16369; Ir: 0.43253; Pt: 3.1029; Au: 1.7639
OUZ-1, rep 2 | 1 | 18.6151 | 7.5659 | 191.8701 | 206.2499 | 449.2183 | 502.6154 | 50.1613 | 93.4251 | 21.9141 | 15.5658 | 2.2894 | 2.4074 | 0.65467 | 4.4256 | 4.4595 | 1.103 | 1.1021 | 0.038887 | <DL | <DL | 0.47455 | 0.47258 | 3.5106 | 3.5655 | 1.4877 |  | 0.45925 |  | 528.9895 | 861.8727 | <DL | 369.3987 | 831.4676 | <DL | <DL | 53.183 | 2.5189 | 18.3897 | 766.9716 | 98.418 | 7.7636 | 217.8174 | 481.4334 | 4.9759 | 45.125 | 5.4878 | 15.2728 | 8.7133 | <DL | 0.42542 | <DL | 0.6083 | 12.8333 | 3.8776 | 4.6088 | 0.516 | <DL | 2.5654 | 0.4598 | <DL | <DL | 11.7168 | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | 1.23 | <DL | <DL | 0.50141 | 3.35 | <DL | 2.0132 | <DL | <DL | <DL
OUZ-2, rep 2 | 2 | 23.063 | 7.0428 | 176.6171 | 189.6325 | 412.4452 | 464.4218 | 53.1992 | 97.1649 | 22.5019 | 14.9195 | 2.1465 | 2.2655 | 0.62913 | 4.1282 | 4.1243 | 0.67323 | 0.67266 | 0.035196 | <DL | <DL | 0.43063 | 0.43918 | 3.2922 | 3.3188 | 1.3593 |  | <DL |  | 105.1681 | 174.2036 | <DL | 75.1746 | 1068.1568 | <DL | <DL | 14.523 | 1.6213 | 23.0289 | 829.0556 | 25.1841 | 7.1896 | 202.3319 | 449.7779 | 4.7695 | 48.1507 | 4.6851 | 14.1371 | 8.2268 | <DL | 0.13522 | <DL | 0.14763 | 12.8427 | 3.4044 | 4.0008 | 0.23766 | <DL | 5.6329 | 0.45772 | <DL | <DL | 5.1183 | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | 0.78542 | <DL | <DL | 0.45624 | 3.1812 | <DL | 1.6402 | <DL | <DL | <DL
OUZ-3, rep 2 | 3 | 18.7955 | 7.2768 | 184.821 | 197.8448 | 475.1289 | 531.5318 | 49.6248 | 96.2707 | 21.6257 | 18.2441 | 2.2195 | 2.352 | 0.63594 | 4.1801 | 4.1788 | 0.59296 | 0.59121 | 0.038032 | <DL | <DL | 0.46176 | 0.46715 | 3.4183 | 3.4436 | 1.419 |  | 0.13089 |  | 149.5454 | 260.3316 | <DL | 72.9017 | 888.6313 | <DL | <DL | 18.7433 | 1.1359 | 18.8481 | 795.2215 | 23.9261 | 7.4766 | 212.5463 | 520.8596 | 4.7816 | 45.2286 | 5.0348 | 16.847 | 6.6585 | <DL | <DL | <DL | 0.1507 | 16.2621 | 3.6209 | 4.1372 | 0.17997 | <DL | 2.3602 | 3.4543 | <DL | <DL | 0.92518 | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | 0.67797 | <DL | <DL | 0.46737 | 3.2522 | <DL | 1.6716 | <DL | <DL | <DL
OUZ-4, rep 2 | 4 | 22.7802 | 6.9634 | 174.7687 | 188.369 | 420.3071 | 474.152 | 55.3637 | 95.9586 | 22.5263 | 16.0359 | 2.139 | 2.2628 | 0.60145 | 4.0916 | 4.0952 | 0.63063 | 0.63355 | 0.036513 | <DL | <DL | 0.43642 | 0.45356 | 3.3178 | 3.3355 | 1.3774 |  | <DL |  | 99.8048 | 205.9485 | <DL | 46.8953 | 1296.0971 | <DL | <DL | 14.552 | 2.5175 | 23.1168 | 809.8699 | 21.6534 | 7.365 | 204.8604 | 440.2287 | 4.7633 | 47.0335 | 4.6912 | 14.2105 | 8.239 | <DL | 0.43747 | <DL | 0.12175 | 13.8915 | 3.422 | 3.9548 | 0.83809 | <DL | 2.1137 | 1.0311 | <DL | <DL | 25.5052 | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | 0.74309 | <DL | <DL | 0.43906 | 3.0355 | <DL | 1.7138 | <DL | <DL | <DL
% change (-decrease) from 1 to 4 |  | 22.3745 | -7.9635 | -8.913 | -8.6695 | -6.4359 | -5.6631 | 10.3713 | 2.7118 | 2.7938 | 3.0206 | -6.5695 | -6.0032 | -8.1299 | -7.5476 | -8.1676 | -42.827 | -42.5159 | -6.1042 |  |  | -8.0367 | -4.023 | -5.4903 | -6.4486 | -7.4134 | % change (-decrease) from 1 to 4 |  |  | -81.1329 | -76.1045 |  | -87.305 | 55.8807 |  |  | -72.6379 | -0.054443 | 25.7051 | 5.5932 | -77.9986 | -5.1339 | -5.9486 | Cu: -8.5588; Zn: -4.271; Ga: 4.2295; Ge: -14.5155; As: -6.9556; Se: -5.444; Sr: 2.8316; Nb: -79.9858; Mo: 8.2451; Ru: -11.7509; Pd: -14.1893; Ag: 62.4196; Sn: -17.6072; Sb: 124.2408; Ba: 117.6804; W: -39.5874; Ir: -12.4353; Pt: -9.3887; Au: -14.8693
|  |  | Co (mg/g) | Ni (mg/g) | Ni (mg/g) | Cu63 (ppm) | Cu65 (ppm) | Ga (ppm) | Ge (ppm) | Ge (ppm) | As (ppm) | Ru (ppm) | Ru (ppm) | Rh (ppm) | Pd (ppm) | Pd (ppm) | W (ppm) | W (ppm) | Re (ppm) | Os (ppm) | Os (ppm) | Ir (ppm) | Ir (ppm) | Pt (ppm) | Pt (ppm) | Au (ppm) | [15 empty] | Co (mg/g) | Ni (mg/g) | Cu: Cu63 (ppm); Ga: Ga (ppm); Ge: Ge (ppm); As: As (ppm); Mo: Mo(ppm); Ru: Ru (ppm); Pd: Pd (ppm); W: W (ppm); Re: Re (ppm); Ir: Ir (ppm); Pt: Pt (ppm); Au: Au (ppm)
Gebel Kamil (MB 98, with D'Orazio and Folco 2003 method) |  |  | 7.5 |  | 198 | 464 |  | 49 | 121 |  | 15.6 | 2.11 |  | 0.75 | 4.8 |  | 0.66 |  | 0.04 |  |  | 0.39 |  | 3.5 |  | 1.57 | Gebel Kamil (D'Orazio and Folco 2003) | [14 empty] | 7.5 | 198 | Cu: 464; Ga: 49; Ge: 121; As: 15.6; Mo: 9.1; Ru: 2.11; Pd: 4.8; Sn: 2.49; Sb: 0.26; W: 0.66; Re: 0.04; Ir: 0.39; Pt: 3.5; Au: 1.57
diff from published (%) |  |  | 4.6346 |  | -0.37722 | 1.6014 |  | -2.7139 | 17.1533 |  | 10.714 | -1.7167 |  | 17.7551 | 16.064 |  | 31.185 |  | 8.8312 |  |  | -10.9049 |  | 11.3465 |  | 14.5249 | diff from published (%) | [14 empty] | 4.6346 | -0.37722 | Cu: 1.6014; Ga: -2.7139; Ge: 90.8246; As: 10.714; Ru: -70.6955; Pd: 16.064; W: 31.185; Re: 8.8312; Ir: -10.9049; Pt: 11.3465; Au: -12.348
|  |  | Comparison of our data with published for Gebel. Green bold means within 20% (good), orange means within 50% (not so good), red means more than 50% out. | [35 empty] | Comparison of our data with published for Gebel. Green bold means within 20% (good), orange means within 50% (not so good), red means more than 50% out.
% change (-decrease) rel to original | [26 empty] | % change (-decrease) rel to original | [16 empty] | Ge: note
OUZ-1, rep 2 |  | 14.9723 | 5.7818 |  | 3.7751 | -1.6101 |  | -0.33489 | -6.8028 |  | 11.7537 | 6.6701 |  | 6.1334 | 9.8462 |  | 142.8598 |  | 6.6337 |  |  | 9.7162 |  | 13.1392 |  | 10.8599 | OUZ-1, rep 2 |  |  | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 | 13.5797 | 0 | 0 | 8.5455 | 9.5953 | Cu: 5.4458; Zn: 0; Ga: -10.3415; Ge: 17.0073; As: 9.6502; Se: 0; Sr: 0; Nb: 0; Mo: 0; Ru: 7.6622; Pd: 14.3915; Ag: 0; Sn: 0; Sb: 0; Ba: 0; W: -63.0757; Ir: -13.7372; Pt: -7.3783; Au: -12.3832
OUZ-2, rep 2 |  | 42.4433 | -1.5329 |  | -4.586 | -9.6643 |  | 5.7011 | -3.0721 |  | 7.1137 | 0.013256 |  | 1.9935 | 2.4651 |  | 48.23 |  | -3.4853 |  |  | -0.44019 |  | 6.103 |  | 1.2901 | OUZ-2, rep 2 |  |  | -80.1191 | -79.7878 |  | -79.6495 | 28.4664 |  |  | -72.6924 | -35.634 | 42.2326 | 8.0947 | -74.4111 | 0.51982 | 1.8038 | Cu: -1.4875; Zn: -4.1465; Ga: -4.3297; Ge: -0.10591; As: 1.4968; Se: -5.5834; Sr: -68.2162; Nb: -75.7315; Mo: 0.072682; Ru: -5.4779; Pd: -0.6969; Ag: -53.9419; Sn: 119.569; Sb: -0.45294; Ba: -56.3165; W: -42.1738; Ir: -5.1962; Pt: -2.4623; Au: 7.5411
OUZ-3, rep 2 |  | 16.086 | 1.7397 |  | -0.45392 | 4.065 |  | -1.4008 | -3.9642 |  | 30.9829 | 3.4123 |  | 3.0969 | 3.7529 |  | 30.5568 |  | 4.2896 |  |  | 6.7587 |  | 10.1673 |  | 5.7374 | OUZ-3, rep 2 |  |  | -71.73 | -69.7947 |  | -80.2648 | 6.875 |  |  | -64.757 | -54.9038 | 16.4114 | 3.6833 | -75.6893 | 4.5331 | 6.9432 | Cu: 14.0811; Zn: -3.9035; Ga: -10.1355; Ge: 7.3488; As: 20.9526; Se: -23.5825; Sr: #VALUE!; Nb: -75.2267; Mo: 26.7179; Ru: 0.53418; Pd: 2.6878; Ag: -65.1226; Sn: -7.9997; Sb: 651.2577; Ba: -92.1038; W: -33.0086; Ir: -7.4544; Pt: -4.5921; Au: 5.5176
OUZ-4, rep 2 |  | 40.6968 | -2.642 |  | -5.2217 | -7.9423 |  | 10.0017 | -4.2755 |  | 15.1293 | -0.33758 |  | -2.4951 | 1.5555 |  | 38.8504 |  | 0.12448 |  |  | 0.8986 |  | 6.9276 |  | 2.6415 | OUZ-4, rep 2 |  |  | -81.1329 | -76.1045 |  | -87.305 | 55.8807 |  |  | -72.6379 | -0.054443 | 42.7756 | 5.5932 | -77.9986 | 2.9729 | 3.076 | Cu: -3.579; Zn: -4.271; Ga: -6.5494; Ge: 0.023145; As: 2.0235; Se: -5.444; Sr: 2.8316; Nb: -79.9858; Mo: 8.2451; Ru: -4.9891; Pd: -1.8398; Ag: 62.4196; Sn: -17.6072; Sb: 124.2408; Ba: 117.6804; W: -38.8797; Ir: -1.4867; Pt: 2.2187; Au: 2.9203
[27 empty] | Notes: | siderophiles shown relative to analyzed Gebel; otherwise, shown relative to initial (OUZ-1), as above
FOR PLOTTING - SIDEROPHILES FROM THE iCAP, ALL OTHER ELEMENTS FROM THE ELAN 6000. ORIGINAL GEBEL KAMIL DATA FROM OUR ANALYSES, ASSUMING GOOD AGREEMENT WITH PUBLISHED. IF THE ELEMENT IS NOT LISTED IT IS BECAUSE IT WAS BELOW DETECTION
|  | Cr (ppm) | Co (mg/g) | Ni (mg/g) | Cu (ppm) | Ga (ppm) | Ge (ppm) | As (ppm) | Ru (ppm) | Rh (ppm) | Pd (ppm) | W (ppm) | Re (ppm) | Ir (ppm) | Pt (ppm) | Au (ppm) | B (ppm) | Na (ppm) | Al (ppm) | P (ppm) | Ti (ppm) | V (ppm) | Fe (mg/g) | Mn (ppm) | Zn (ppm) | Se (ppm) | Sr (ppm) | Nb (ppm) | Mo (ppm) | Ag (ppm) | Sn (ppm) | Sb (ppm) | Ba (ppm) | elements in black bold are included in ActLabs UT-1M analysis; in orange not included or below detection
Gebel Kamil |  | 16.191 | 7.1524 | 198.7469 | 456.5695 | 50.3298 | 100.2446 | 13.9286 | 2.1462 | 0.61684 | 4.0289 | 0.45418 | 0.036468 | 0.43253 | 3.1029 | 1.342 | N/A | N/A | N/A | N/A | N/A | N/A | 800 | N/A | N/A | N/A | N/A | N/A | 10 | N/A | N/A | 0.28 | N/A
Stage 1 |  | 18.6151 | 7.5659 | 206.2499 | 449.2183 | 50.1613 | 93.4251 | 15.5658 | 2.2894 | 0.65467 | 4.4256 | 1.103 | 0.038887 | 0.47455 | 3.5106 | 1.4877 | 528.9895 | 861.8727 | 369.3987 | 831.4676 | 53.183 | 2.5189 | 766.9716 | 98.418 | 4.9759 | 8.7133 | 0.42542 | 0.6083 | 12.8333 | 0.516 | 2.5654 | 0.4598 | 11.7168
Stage 2 |  | 23.063 | 7.0428 | 189.6325 | 412.4452 | 53.1992 | 97.1649 | 14.9195 | 2.1465 | 0.62913 | 4.1282 | 0.67323 | 0.035196 | 0.43063 | 3.2922 | 1.3593 | 105.1681 | 174.2036 | 75.1746 | 1068.1568 | 14.523 | 1.6213 | 829.0556 | 25.1841 | 4.7695 | 8.2268 | 0.13522 | 0.14763 | 12.8427 | 0.23766 | 5.6329 | 0.45772 | 5.1183
Stage 3 |  | 18.7955 | 7.2768 | 197.8448 | 475.1289 | 49.6248 | 96.2707 | 18.2441 | 2.2195 | 0.63594 | 4.1801 | 0.59296 | 0.038032 | 0.46176 | 3.4183 | 1.419 | 149.5454 | 260.3316 | 72.9017 | 888.6313 | 18.7433 | 1.1359 | 795.2215 | 23.9261 | 4.7816 | 6.6585 | <DL | 0.1507 | 16.2621 | 0.17997 | 2.3602 | 3.4543 | 0.92518
Stage 4 |  | 22.7802 | 6.9634 | 188.369 | 420.3071 | 55.3637 | 95.9586 | 16.0359 | 2.139 | 0.60145 | 4.0916 | 0.63063 | 0.036513 | 0.43642 | 3.3178 | 1.3774 | 99.8048 | 205.9485 | 46.8953 | 1296.0971 | 14.552 | 2.5175 | 809.8699 | 21.6534 | 4.7633 | 8.239 | 0.43747 | 0.12175 | 13.8915 | 0.83809 | 2.1137 | 1.0311 | 25.5052
% change for plotting |  | Cr (ppm) | Co (mg/g) | Ni (mg/g) | Cu (ppm) | Ga (ppm) | Ge (ppm) | As (ppm) | Ru (ppm) | Rh (ppm) | Pd (ppm) | W (ppm) | Re (ppm) | Ir (ppm) | Pt (ppm) | Au (ppm) | B (ppm) | Na (ppm) | Al (ppm) | P (ppm) | Ti (ppm) | V (ppm) | Fe (mg/g) | Mn (ppm) | Zn (ppm) | Se (ppm) | Sr (ppm) | Nb (ppm) | Mo (ppm) | Ag (ppm) | Sn (ppm) | Sb (ppm) | Ba (ppm)
Gebel Kamil |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Stage 1 |  | 14.9723 | 5.7818 | 3.7751 | -1.6101 | -0.33489 | -6.8028 | 11.7537 | 6.6701 | 6.1334 | 9.8462 | 142.8598 | 6.6337 | 9.7162 | 13.1392 | 10.8599 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Stage 2 |  | 42.4433 | -1.5329 | -4.586 | -9.6643 | 5.7011 | -3.0721 | 7.1137 | 0.013256 | 1.9935 | 2.4651 | 48.23 | -3.4853 | -0.44019 | 6.103 | 1.2901 | -80.1191 | -79.7878 | -79.6495 | 28.4664 | -72.6924 | -35.634 | 8.0947 | -74.4111 | -4.1465 | -5.5834 | -68.2162 | -75.7315 | 0.072682 | -53.9419 | 119.569 | -0.45294 | -56.3165
Stage 3 |  | 16.086 | 1.7397 | -0.45392 | 4.065 | -1.4008 | -3.9642 | 30.9829 | 3.4123 | 3.0969 | 3.7529 | 30.5568 | 4.2896 | 6.7587 | 10.1673 | 5.7374 | -71.73 | -69.7947 | -80.2648 | 6.875 | -64.757 | -54.9038 | 3.6833 | -75.6893 | -3.9035 | -23.5825 |  | -75.2267 | 26.7179 | -65.1226 | -7.9997 | 651.2577 | -92.1038
Stage 4 |  | 40.6968 | -2.642 | -5.2217 | -7.9423 | 10.0017 | -4.2755 | 15.1293 | -0.33758 | -2.4951 | 1.5555 | 38.8504 | 0.12448 | 0.8986 | 6.9276 | 2.6415 | -81.1329 | -76.1045 | -87.305 | 55.8807 | -72.6379 | -0.054443 | 5.5932 | -77.9986 | -4.271 | -5.444 | 2.8316 | -79.9858 | 8.2451 | 62.4196 | -17.6072 | 124.2408 | 117.6804
|  | not reliable | [14 empty] | These elements should be included in the paper only…
do not report
|  | average | 1.9879 | of % change of all elements except As and W
|  | std dev | 5.3475
Ratios |  |  | Ni/Co | Fe (mg/g) | Ni/Fe | Ni/Fe*
Original Gebel |  |  | 27.7874 |  |  | 0.24843
Stage 1 |  |  | 27.7874 | 766.9716 | 0.25913 | 0.24843
Stage 2 |  |  | 27.2603 | 829.0556 | 0.24878 | 0.25781
Stage 3 |  |  | 26.9259 | 795.2215 | 0.23846 | 0.23704
Stage 4 |  |  | 27.1883 | 809.8699 | 0.24429 | 0.24731
*assumes constant Fe of 80%
New Table 3 | D'Orazio et al. (2011)
| Published | This study | Stage 1 | Stage 2 | Stage 3 | Stage 4
Co (mg/g) | 7.6 | 7.1524 | 7.5659 | 7.0428 | 7.2768 | 6.9634
Ni (mg/g) | 206 | 198.7469 | 206.2499 | 189.6325 | 197.8448 | 188.369
Cu (ppm) | 436 | 456.5695 | 449.2183 | 412.4452 | 475.1289 | 420.3071
Ga (ppm) | 49.7 | 50.3298 | 50.1613 | 53.1992 | 49.6248 | 55.3637
Ge (ppm) | 121 | 100.2446 | 93.4251 | 97.1649 | 96.2707 | 95.9586
As (ppm) | 15.6 | 13.9286 | 15.5658 | 14.9195 | 18.2441 | 16.0359
Ru (ppm) | 2.3 | 2.1462 | 2.2894 | 2.1465 | 2.2195 | 2.139
Rh (ppm) | 0.73 | 0.61684 | 0.65467 | 0.62913 | 0.63594 | 0.60145
Pd (ppm) | 4.8 | 4.0289 | 4.4256 | 4.1282 | 4.1801 | 4.0916
W (ppm) | 0.42 | 0.45418 | 1.103 | 0.67323 | 0.59296 | 0.63063
Re (ppm) | 0.04 | 0.036468 | 0.038887 | 0.035196 | 0.038032 | 0.036513
Ir (ppm) | 0.55 | 0.43253 | 0.47455 | 0.43063 | 0.46176 | 0.43642
Pt (ppm) | 3.7 | 3.1029 | 3.5106 | 3.2922 | 3.4183 | 3.3178
Au (ppm) | 1.57 | 1.342 | 1.4877 | 1.3593 | 1.419 | 1.3774
B (ppm) |  | N/A | 528.9895 | 105.1681 | 149.5454 | 99.8048
Na (ppm) |  | N/A | 861.8727 | 174.2036 | 260.3316 | 205.9485
Al (ppm) |  | N/A | 369.3987 | 75.1746 | 72.9017 | 46.8953
P (ppm) |  | N/A | 831.4676 | 1068.1568 | 888.6313 | 1296.0971
Ti (ppm) |  | N/A | 53.183 | 14.523 | 18.7433 | 14.552
V (ppm) |  | N/A | 2.5189 | 1.6213 | 1.1359 | 2.5175
Fe (mg/g) |  | 800 | 766.9716 | 829.0556 | 795.2215 | 809.8699
Mn (ppm) |  | N/A | 98.418 | 25.1841 | 23.9261 | 21.6534
Zn (ppm) |  | N/A | 4.9759 | 4.7695 | 4.7816 | 4.7633
Se (ppm) |  | N/A | 8.7133 | 8.2268 | 6.6585 | 8.239
Sr (ppm) |  | N/A | 0.42542 | 0.13522 | bdl | 0.43747
Nb (ppm) |  | N/A | 0.6083 | 0.14763 | 0.1507 | 0.12175
Mo (ppm) | 9.9 | N/A | 12.8333 | 12.8427 | 16.2621 | 13.8915
Ag (ppm) |  | N/A | 0.516 | 0.23766 | 0.17997 | 0.83809
Sn (ppm) |  | N/A | 2.5654 | 5.6329 | 2.3602 | 2.1137
Sb (ppm) | 0.28 | N/A | 0.4598 | 0.45772 | 3.4543 | 1.0311
Ba (ppm) |  | N/A | 11.7168 | 5.1183 | 0.92518 | 25.5052
B/Al |  |  | 1.432 | 1.399 | 2.0513 | 2.1282
B/Mn |  |  | 5.3749 | 4.176 | 6.2503 | 4.6092
Ni/Co | 27.1053 | 27.7874 | 27.2603 | 26.9259 | 27.1883 | 27.0512
Ni/Fe |  | 0.25 | 0.25913 | 0.24878 | 0.23846 | 0.24429
Note on C20: herd: Cr is not very reliable
Note on K20: herd: Best to use these results for Ge
Note on C52: herd: Cr is not very reliable
Note on J52: herd: Best to use these results for Ge
Note on AO56: Chris Herd: accounts for 120% recovery
Note on AV65: Chris Herd: these are relative to the average of 4.6 and 4.8 ppm, i.e., only Elan 6000 data
Note on X74: Chris Herd: should be ~80 wt%, based on ~20 wt% Ni